SCOPETEK®

Model DCMA35 --- Digital Camera for M25 / M45

Model DCMA35 is a digital camera professionally designed for magnifier M25/M45. The images of the observed specimen or samples can be genuinely displayed on the computer screen. With the powerful software included, it is extremely convenient to do the basic and advanced image processing and measurement to the images captured from a magnifier. The simple operation ensures you doing all these processing works at great ease.

| Properties | DCMA35 Specifications |
| --- | --- |
| Image sensor | 350K, 1/3” CMOS, offering color images |
| MAX Resolution (Still) | 640X480 |
| MAX resolution (motion) | 640X480, 15 frames/sec.; 320X240, 30 frames/ses. |
| View field | Inscribed rectangle of 8 mm |
| Usage | Mounted onto the eyepiece via an adaptor-ring |
| Sensitivity | 2.7v/lux.sec@green 2.1v/lux.sec@red 2.0v/lux.sec@blue |
| File format | BMP, TIFF, JPG, PICT, PTL etc. |
| Exposure | Automatic |
| Shutter control | Automatic |
| Interface | USB, hot plug and thrust, a USB cable of length 1.5m |
| System requirement | Windows 2000 / XP; USB cable |
| Software | USB 1.0 drive, compatible 2.0; ScopePhoto, VFW interface, Twain drive, photoshop plug-in; Can capture, browse & analyze the image |
| Camera body | Blackened metal body of cylinder shape, 50 mm |

Features:

- DCMA35 employs newly designed optical system of fully coated, based on MTF (modulation Transfer Function) analysis, for improved image flatness and contrast. The images are brighter and distinct even at the periphery of the field of view. Especially, this system matches the specific characters of magnifier.

- The usage is very simple and easy: Removing the rubber eye-cap and its plastic holder, and screwing the adaptor-ring onto the eyepiece, then inserting DCMA35 into the adaptor-ring.

- Based on the consideration of the color temperature of the illumination, the design makes it offer very good color fidelity. The captured image is available with true color.

Software:

- Operation Manual

- Driver

- ScopePhoto is image processing software professionally designed for microscope images. Except the basic image file operation and processing, the ScopePhoto has the following characteristic specially designed for the scientific analysis of the captured image through the DCM35 or other image capture devices. The main functions of the ScopePhoto are listed as follows (9 I’s):

  - Image archival with data attachment (*.PTL format, other formats are also supported)

  - Image capture through VFW and Twain interface

  - Image cut-&-paste from image to image, image to file

  - Image basic operations like other similar software are included in the Image menu. At here you can adjust the image at ease

  - Image layer operation specially designed for the measurement operation (Layer technique is used to separate the measured results and the different results can be put on different layers)

  - Image processing filter for noise reduction and enhancement (Image enhancement filters, edge enhancement filters, morphology operation filters, User defined kernel filter, include convolution and morphological filters)

  - Image arithmetic operation between image and image, image and digital number  (Including AND, OR, XOR, NAND, NOR, NOT, Add, Subtract, Multiply, Divide, Absolute, Min, Max, Average, Invert, Logarithm, Exponential, Square Root, Square, X to the power of Y operation)

  - Image pseudocolor, range, segmentation operations are also include in the application

  - Image zooming and panning operations

(Note: All detailed function should refer to the software ScopePhoto provided, SCOPETEK has the right to change the function without notifications.)