SCOPETEK®

ACM35 (NTSC or PAL) --- Video Camera for Microscope

Model ACM35 is a video camera professionally designed for microscope. It works perfectly with all kinds of optical microscopes, such as biological microscope, metallurgical microscope and stereomicroscope. The images of the observed specimen or samples can be genuinely displayed on TV screen.

Features:

- ACM35 employs newly designed optical system of fully coated, based on MTF (modulation Transfer Function) analysis, for improved image flatness and contrast. The images are brighter and distinct even at the periphery of the field of view. It offers excellent performance when combined with plan-achromatic objectives system. Especially, ACM35 matches the specific characters of microscope, such as the parfocalization of objectives.

- ACM35 has a wide field, which matches microscope’s field of view.

- For any observation head from microscope, i.e. monocular head, binocular head or trinocular head, ACM35 can be inserted directly into the ocular-tube or the photo-tube. With the adaptor Φ30mm or the adaptor Φ30.5mm included, it is also workable on a stereomicroscope. The operation is so simple that it can works perfectly with all kinds of microscopes.

- If the microscope adapted with ACM35 is earthed definitely, the metal body of ACM35 ensures wonderful anti-interference.

- Based on the consideration of the color temperature of microscope illumination, the design makes it offer very good color fidelity. The captured image is available with true color.

| Properties | ACM35 Specifications |
| --- | --- |
| Image sensor | 1/3” CMOS of 350K pixels, offering color image |
| Resolution | VGA (NTSC: 510X492 pixels, PAL: 628X582 pixels) |
| Output | AV |
| Min. illumination | < 5LUX @ F1.4 3000K |
| S/N Ratio | 40DB |
| Power adaptor | 220V/50Hz-60Hz OR 110V/50Hz-60Hz |
| Exposure White-balance | Auto-exposure White-balance, controlled by a manual button on the body |
| View field | Inscribed rectangle of Ф18 mm |
| Usage | Ocular-tube or photo-tube on microscope |
| Camera size | Blackened metal body of cylinder shape Ф50 mm |