SCOPETEK®

DCT35 (350K pixels, USB1.0), DCT35 (350K pixels, USB2.0)

Digital Camera for Telescope

Model DCT35 is a digital camera professionally designed for telescope. It works perfectly with all kinds of optical telescopes. The images of the observed object can be genuinely displayed on computer screen. The software MiniSee included with the camera ensures simple and convenient operation on the images captured from telescope. The powerful advanced software ScopePhoto is available for option at extra cost.

| Properties | DCT35 (350K pixels, USB1.0) | DCT35 (350K pixels, USB2.0) |
| --- | --- | --- |
| Image sensor | 350K, 1/3” CMOS, offering color image |  |
| MAX Resolution (Still) | 640X480 |  |
| MAX resolution (motion) | 640x480, 15 frame/sec; 320X240, 30 frame/sec; | 640x480, 30 frame/sec; 320X240, 40 frame/sec; |
| View field | Inscribed rectangle of Ф18 mm |  |
| Usage | Ocular-tube |  |
| Sensitivity | 2.7v/lux.sec@green 2.1v/lux.sec@red 2.0v/lux.sec@blue |  |
| File format | BMP, TIFF, JPG, PICT, PTL etc. |  |
| Exposure | Automatic |  |
| Shutter control | Automatic |  |
| Interface | USB, hot plug and thrust, a USB cable of length 1.5m |  |
| System requirement | Windows 2000 / XP; USB cable |  |
| Software | Driver MiniSee, included with the camera ScopePhoto available for option at extra cost Photoshop plug-in; |  |
| Weight | 4.8 oz without eyepiece adapter |  |
| Camera size | Cylinder shape, Ф50 mm |  |
| Camera body | Blackened metal body of cylinder shape |  |

Features:

- DCT35 employs newly designed optical system of fully coated, based on MTF (modulation Transfer Function) analysis, for improved image flatness and contrast. The images are brighter and distinct even at the periphery of the field of view. This system is designed for telescope and matches the specific characters of telescope.

- DCT35 has a wide field, which matches telescope’s field of view.

- The operation is so simple that it can works perfectly with all kinds of telescopes. DCT35 can be inserted directly into the telescope ocular-tube of Ф24.5mm. If the telescope has an ocular-tube of Ф31.7mm, it can be mounted into the ocular-tube with an adaptor of Ф31.7mm. 2 adaptors of Ф31.7mm are included with DCT35, one for observing the object in the sky and another for observing the object on the land.

- The design makes it offer very good color fidelity. The image is available with true color.

Note:

- All detailed function should refer to the software MiniSee, SCOPETEK has the rights to change the function without notifications.

- All detailed function should refer to the software ScopePhoto, SCOPETEK has the rights to change the function without notifications.

- Please keep contact with our distributors for the further information about our new products.

Introduction about software ScopePhoto

ScopePhoto is an image processing software professionally designed for SCOPETEK digital cameras, including DCM35, DCT35, DCM130, DCT130, DCM210 and DCT210. Except the basic image file operation and processing, the ScopePhoto has the following characteristic specially designed for the scientific analysis of the captured image through the camera or other image capture devices. The main functions of the ScopePhoto are listed as follows( 9 I’s):

  - Image archival with data attachment (*.PTL format, other formats are also supported)

  - Image capture through VFW and Twain interface

  - Image cut-&-paste from image to image, image to file

  - Image basic operations like other similar software are included in the Image menu. At here you can adjust the image at ease

  - Image layer operation specially designed for the measurement operation (Layer technique is used to separate the measured results and the different results can be put on different layers)

  - Image processing filter for noise reduction and enhancement (Image enhancement filters, edge enhancement filters, morphology operation filters, User defined kernel filter, include convolution and morphological filters)

  - Image arithmetic operation between image and image, image and digital number  (Including AND, OR, XOR, NAND, NOR, NOT, Add, Subtract, Multiply, Divide, Absolute, Min, Max, Average, Invert, Logarithm, Exponential, Square Root, Square, X to the power of Y operation)

  - Image pseudocolor, range, segmentation operations are also include in the application

  - Image zooming and panning operations