SCOPETEK®

Digital Camera for Microscope

DCM35 (350K pixels, USB1.0)，DCM35 (350K pixels, USB2.0)

What is a digital microscope? It is a microscope adapted with a digital camera especially designed for microscope. Model DCM35 is an excellent solution.

Model DCM35 is a digital camera professionally designed for microscope. It works perfectly with all kinds of optical microscopes, such as biological microscope, metallurgical microscope and stereomicroscope. The images of the observed specimen or samples can be genuinely displayed on the computer screen. The software MiniSee included with the camera ensures simple and convenient operation on the images captured from a microscope. The powerful advanced software ScopePhoto is available for option at extra cost.

Features:

- DCM35 employs newly designed optical system of fully coated, based on MTF (modulation Transfer Function) analysis, for improved image flatness and contrast. The images are brighter and distinct even at the periphery of the field of view. It offers excellent performance when combined with plan-achromatic objectives system. Especially, this system is designed for microscope and matches the specific characters of microscope, such as the field of view of eyepiece WF10X-18mm and the parfocalization of objectives.

- DCM35 has a wide field, which matches microscope’s field of view 18mm.

- For any observation head from microscope, i.e. monocular head, binocular head or trinocular head, DCM35 can be inserted directly into the ocular-tube or the photo-tube. With the adaptor Φ30mm or the adaptor Φ30.5mm included, it is also workable on a stereomicroscope. The operation is so simple that it can works perfectly with all kinds of microscopes.

- If the microscope adapted with DCM35 is earthed definitely, the metal body of DCM35 ensures wonderful anti-interference.

- Based on the consideration of the color temperature of microscope illumination, the design makes it offer very good color fidelity. The captured image is available with true color.

| Properties | DCM35 (USB1.0) | DCM35 (USB2.0) |
| --- | --- | --- |
| Image sensor | 1/3” CMOS of 350K pixels, offering color image |  |
| MAX Resolution (Still) | 640X480, pixel size 8µm X 8µm |  |
| MAX resolution (motion) | 15 frames/sec at 640x480; 30 frames/sec at 320X240; | 30 frames/sec at 640x480; 40 frames/sec at 320X240; |
| View field | Inscribed rectangle of Ф18 mm |  |
| Usage | Ocular-tube or photo-tube on microscope |  |
| Sensitivity | 2.7v/lux.sec@green 2.1v/lux.sec@red 2.0v/lux.sec@blue |  |
| File format | BMP, TIFF, JPG, PICT, PTL etc. |  |
| Exposure | Automatic |  |
| Shutter control | Automatic |  |
| Interface | USB, hot plug and thrust, a USB cable of length 1.5m |  |
| System requirement | Windows 2000 / Windows XP; USB cable |  |
| Software | Driver Software “MiniSee” included with DCM35 Software “ScopePhoto” available for option at extra cost Photoshop plug-in; |  |
| Weight | 4.8 oz without eyepiece adapter |  |
| Camera size | Cylinder shape, Ф50 mm |  |
| Camera body | Blackened metal body of cylinder shape |  |

Note:

- All detailed function should refer to the software MiniSee, SCOPETEK has the rights to change the function without notifications.

- All detailed function should refer to the software ScopePhoto, SCOPETEK has the rights to change the function without notifications.

- Please keep contact with our distributors for the further information about our new products, such as DCM130 and DCM210.

Introduction about software ScopePhoto

ScopePhoto is an image processing software professionally designed for SCOPETEK digital cameras, including DCM35, DCT35, DCM130, DCT130, DCM210 and DCT210. Except the basic image file operation and processing, the ScopePhoto has the following characteristic specially designed for the scientific analysis of the captured image through the camera or other image capture devices. The main functions of the ScopePhoto are listed as follows( 9 I’s):

  - Image archival with data attachment (*.PTL format, other formats are also supported)

  - Image capture through VFW and Twain interface

  - Image cut-&-paste from image to image, image to file

  - Image basic operations like other similar software are included in the Image menu. At here you can adjust the image at ease

  - Image layer operation specially designed for the measurement operation (Layer technique is used to separate the measured results and the different results can be put on different layers)

  - Image processing filter for noise reduction and enhancement (Image enhancement filters, edge enhancement filters, morphology operation filters, User defined kernel filter, include convolution and morphological filters)

  - Image arithmetic operation between image and image, image and digital number  (Including AND, OR, XOR, NAND, NOR, NOT, Add, Subtract, Multiply, Divide, Absolute, Min, Max, Average, Invert, Logarithm, Exponential, Square Root, Square, X to the power of Y operation)

  - Image pseudocolor, range, segmentation operations are also include in the application

  - Image zooming and panning operations