SCOPETEK®    www.scopetek.com      Hangzhou Scopetek Opto-Electric Co.,Ltd.

Digital Camera for Microscope

DCM Series

(Also called Electronic Eyepiece)

What is a digital microscope?

It is a microscope adapted with a digital camera especially designed for microscope.

DCM Series is an excellent solution and offers live image.

DCM is a digital camera especially designed for microscope. It works perfectly with any kind of optical microscopes, including biological microscope, metallurgical microscope and stereomicroscope. The images of the observed specimen or samples can be genuinely displayed on computer screen. With the software MiniSee, it is very convenient to preview live image and to capture still picture. The powerful advanced software ScopePhoto for option ensures simple and convenient operation on the images captured.

How to build up a digital microscope? It is very simple and easy. Remove the eyepiece from the microscope ocular tube and insert DCM camera into the ocular tube. Plug DCM camera to the USB port of your computer. Then you get it!

DCM is USB2.0 version, so please make sure that it is plugged into USB2.0 port in PC.

SCOPETEK®    www.scopetek.com      Hangzhou Scopetek Opto-Electric Co.,Ltd.

Digital Camera for Microscope

DCM Series

(Also called Electronic Eyepiece)

Features:

- DCM employs newly designed optical system of fully coated, based on MTF (modulation Transfer Function) analysis, for improved image flatness and contrast. The images are brighter and distinct even at the periphery of the field of view. It offers excellent performance when combined with plan-achromatic objective system. Especially, this system is designed for microscope and matches the microscope features, such as the field of view of eyepiece WF10X-18mm and the parfocalization of objectives.

- DCM has a wide field, which matches microscope’s field of view 18mm.

- For any observation head of microscope, i.e. monocular head, binocular head or trinocular head, DCM can be inserted directly into the ocular-tube or the photo-tube. With the adaptor Φ30mm or the adaptor Φ30.5mm included, it is also workable on a stereomicroscope. The operation is so simple that it can works perfectly with all kinds of microscopes.

- Based on the consideration of the color temperature of microscope illumination, the design makes it offer very good color fidelity. The image is available with excellent true color.

- If the microscope adapted with DCM is earthed definitely, the metal body of the camera ensures wonderful anti-interference.

Note:

- All detailed function should refer to the software MiniSee, SCOPETEK has the rights to change the function without notifications.

- All detailed function should refer to the software ScopePhoto, SCOPETEK has the rights to change the function without notifications.

- Please keep contact with our distributors for the further information about other models as follows:

| Cameras for microscope | Cameras with C-mount | Cameras for telescope |
| --- | --- | --- |
| ACM35 (PAL, 220V) ACM35 (NTSC, 110V) DCM35-A, DCM35-B DCM130-A, DCM130-B DCM200-A, DCM200-B DCM300-A, DCM200-B DCM500-A, DCM500-B | DCMC35 DCMC130 DCMC200 DCMC300 DCMC500 | ACT35 (PAL, 220V) ACT35 (NTSC, 110V) DCT35-A, DCT35-B DCT130-A, DCT130-B DCT200-A, DCT200-B DCT300-A, DCT300-B DCT500-A, DCT500-B |

SCOPETEK®     www.scopetek.com     Hangzhou Scopetek Opto-Electric Co.,Ltd.

Digital Camera for Telescope DCM Series(Also called Electronic Eyepiece)

| Model | DCM35 | DCM130 | DCM200 | DCM300 | DCM500 |
| --- | --- | --- | --- | --- | --- |
| Image Sensor | 1/3” CMOS | 1/2” CMOS | 1/3” CMOS | 1/2” CMOS | 1/2.5” CMOS |
| Pixel Size | 8μm X 8μm | 5.2μm X 5.2μm | 2.8μm X 2.8μm | 3.2μm X 3.2μm | 2.2μm X 2.2μm |
| Sensitivity | 2.0v/lux-sec @550nm | 1.8v/lux-sec @550nm | 1.0v/lux-sec @550nm | 1.0v/lux-sec @550nm | 1.0v/lux-sec @550nm |
| Max Resolution (Hardware) | 640 X 480 0.3M pixels | 1280 X 1024 1.3M pixels | 1600 X 1200 2M pixels | 2048 X 1536 3M pixels | 2592 X 1944 5M pixels |
| Speed (Depend on the PC) | 30frames/sec @ 640 X 480 | 20frames/sec @1280 X 1024 | 6frames/sec @1600 X 1200 | 4frames/sec @2048 X 1536 | 2frames/sec @2592 X 1944 |
| Dynamic Range | 62dB | 62dB | 71.5dB | 62dB | 75dB |
| Wave Length (nm) | 400-650nm (IR-Cut added) |  |  |  |  |
| Exposure | ERS (Electronic Rolling Snap) |  |  |  |  |
| White Balance | Automatic / Manual |  |  |  |  |
| Auto-exposure | Automatic / Manual |  |  |  |  |
| Image Output | USB2.0, 480Mb/s |  |  |  |  |
| Power Supply | USB2.0 |  |  |  |  |
| Programmable Control | Image size, brightness, gain, exposure time |  |  |  |  |
| Working Temperature | -30°C ~ 70°C |  |  |  |  |
| Camera body | Metal body painted in black |  |  |  |  |
| Camera Size | 41 X 50 X 50 (mm) |  |  |  |  |
| USB Cable | USB cable, length 1.5m |  |  |  |  |
| Operation System | Windows 2000 and Windows XP (SP2) |  |  |  |  |
| Software | Image-processing software “MiniSee” and “ScopePhoto” Driver, which supports DShow & TWAIN interface, output data RGB24 |  |  |  |  |
| Camera body | Type A: Anodized metal body of cylinder shape, Ф60mm Type B: Metal body painted in black, 41 X 50 X 50 (mm) |  |  |  |  |
| Accessories Included | 2 adaptors (Ф23.2-Ф30, Ф23.2-Ф30.50, one each) for stereomicroscope |  |  |  |  |
| USB cable | USB cable, length 1.5m |  |  |  |  |

SCOPETEK®    www.scopetek.com      Hangzhou Scopetek Opto-Electric Co.,Ltd.

Digital Camera for Microscope

DCM Series

(Also called Electronic Eyepiece)

Introduction about software ScopePhoto

ScopePhoto is the image-processing software professionally designed for SCOPETEK digital cameras, including DCM, DCMC and DCT Series. Except the basic image file operation and processing, the ScopePhoto has the following characteristic specially designed for the scientific analysis of the captured image through the camera or other image capture devices. The main functions of the ScopePhoto are listed as follows (9I’s):

  - Image archival with measurement data in layer format (*.SFT format, other formats are also supported)

  - Image capture through Direct Show and Twain interface

  - Image edit operations.

  - Image view operations, include Image browsing in window explorer format, image history operations, measurement results management, ruler and grid on image , image zooming and panning operations

  - Image basic operations like other similar software are included in the Image menu. At here you can do the adjustments on the image at ease

  - Image processing filter for noise reduction and enhancement (Image enhancement filters, edge enhancement filters, morphology operation filters, User defined kernel filter, include convolution and morphological filters)

  - Image layer operation specially designed for the measurement operation (Layer technique is used to separate the measured results and the different results can be put on different layers)

  - Image plug-in operation, with this menu, user can design his owns image processing algorithm at ease.

  - Image options menu for user customized operation characteristic.